## Slide 1: Energy Efficiency Solution
Create an Energy Footprint Model for Sugar Land facility
Make recommendations on energy efficiency upgrades
Presenter: Abuzar Patel Project Manager: Adam Innuria

## Slide 2: US Environmental Protection Agency Tool
Energy Portfolio Manager
  Benchmarking energy usage
  Compare the performance of individual properties in your portfolio
  Set Targets/Goals
Metrics
Tracking
Goals

## Slide 3: Portfolio Manager
Metrics for Building 105

## Slide 4: US Department Of Energy Tool
2. Energy Footprint Tool
  Tracks metered energy consumption of a facility (Top-down)
  End-use consumption (Bottom-up)
  Find gaps between the model and metered data
  Resolve any gaps found
Sugar Land Campus
Top Down
Bottom Up
Individual Office Space

## Slide 5: Sugarland Expertise
Henry Lorenzo (Left) & Stuart Walkley (Right)
Adam Inurria (Left) & Randy Meador (Right)

## Slide 6: New objective: HVAC Upgrade Project
Align with ongoing Sugarland energy efficiency project in HVAC
Accounts for 44% of energy consumption in US

## Slide 7: New objective: HVAC Upgrade Project
Survey
Risk Analysis
Financial Analysis
Assess current HVAC system (Energy Audit)
Analyze results of energy audit for HVAC system
Perform financial analysis

## Slide 8: HVAC Asset Risk Assessment
Notes: What’s the problem?
Most enterprise clients underinvest in their HVAC assets—so average portfolio age is near (or past) useful life of 15 years
Running assets past useful life is an immediate deferred maintenance risk—threatens client capital budget
Furthermore, starting 1/1/2020, the refrigerant R-22 is being banned, which will escalate deferred maintenance risk related to RTUs
  Most HVAC units over 10 years old contain R-22
  The manufacture / import ban will inhibit traditional maintenance options and speed unit failure rates
  In cases where maintenance is still possible, the ban will inflate material and labor pricing

## Slide 9: R22 Ban Effect On MRO Cost

## Slide 10: Maintenance & Energy Savings
Audits in process to validate Sugar Land asset data, but approximately 30 units in scope for replacement—with a savings opportunity of at least 220K in year 1 (energy and maintenance savings alone).

## Slide 11: Financial Solution
HVAC Cost Savings
HVAC OPEX (lease)
On a yearly basis… 15 years

## Slide 12: Benefits of 3rd Party Capital
$ (Millions)
Solution
Key assumptions:
EaaS rollout spans 12 months vs. 48 month SLB rollout
20% reduction in HVAC consumption by replacing old equipment with new
100% of recorded maintenance costs are HVAC reactive MRO
Project cost based on original acquisition cost, adjusted for 15 years of inflation
Notes: Richmond Case Study

## Slide 13: Recommendation
Leverage 3rd Party to deploy energy efficient solution
De-Risking our portfolio
Continued focus on core business
Achieve sustainability goals
1930
1940
1950
1960
1970
1980
1990
2000
2010
CAMCO
Phoenix
Oilphase
Sensa
IPM
GeoQuest
WesternGeco
Data Marine
IndigoPool.com
Geco
Anadrill
Dowell
Flopetrol
Petrel
SGK
Inside Reality
AGO
Prakla-Seismos
Odegaard
TerraTek
TPG
Insensys
Geosystem
VIPS
InnerLogix
Framo Engineering
Eastern Echo
Voxel Vision
PetroAlliance
Reslink
Staag
Extreme
IES
Techsia
Nexus Geosciences
Geoservices
DBR Inc.
Wireline
SPT, Gedco
Smith International
GeoKnowledge
Cameron

## Slide 14: Project Assumptions
57 total assets surveyed; 9 buildings with assets recommended for replace; 30 total assets recommended for replace
Savings estimates based on 2017 utility data:
  Of annual consumption, HVAC constituted ~35% of total
  We estimate asset replacements will reduce that HVAC consumption by ~20%
MRO cost / ton = $125
R22 impact starts in 2020, increases reactive MRO spend by 40%, impact spans 6 years
According to Carrier corporate R-22 ban can escalate up to 300 % in my model we incorporated 140%
1% degradation on the efficiency of the replaced HVAC units per year (Houston)
Additional assumption on Financial slide.

## Slide 15: Appendix
$ (Millions)
Solution
Notes: Richmond Case Study